| Permit Number: | Project Address: |  |
| --- | --- | --- |
| Project Title: |  |  |
| Inspection Agency: | Phone: | Email: |
| Agency Contact: | Phone: | Email: |
| Design Professional: | Phone: | Email: |
| Staff Person Reviewing Submittal: | Phone: | Email: |
| Company: |  | Date: |
| Address: |  |  |
| Comments: |  |  |

A pre-construction meeting is recommended for every project whose elements are subject to special inspections. This meeting can take place at any time either here within the City building or on the job site.

Check Required Special Inspections – Per IBC Section 1704:

| ☐ Steel construction (1705.2) | ☐ Concrete construction (1705.3) |
| --- | --- |
| ☐ Masonry construction (1705.4) | ☐ Wood construction (1705.5) |
| ☐ Soils/Site Conditions (1705.6) | ☐ Driven deep foundations (1705.7) |
| ☐ Cast-in-place deep foundations (1705.8) | ☐ Helical pile/pier foundations (1705.9) |
| ☐ Fabricated items (1705.10) | ☐ Special inspections for wind resistance (1705.11) |
| ☐ Special inspections for seismic resistance (1705.12 ☐ Sprayed fire-resistance materials (1705.14) ☐ Exterior Insulation and Finish Systems (EIFS) (1705.16) ☐ Testing for smoke control (1705.18) | ☐ Testing for seismic resistance (1705.13) ☐ Mastic and intumescent fire-resistance (1705.15) ☐ Fire-resistance penetrations and joints (1705.17) ☐ Other inspections as required by the Design Professional or the Building Official (17051.1) |

In accordance to Section 1704 of the International Building Code (IBC), the owner, or the registered design professional in responsible charge acting as the owner’s agent, is required to hire an independent testing/inspection agency to perform required special inspections.

The design professional shall complete the attached forms and submit them to the Building Official at the time construction plans are submitted for plan review. The special inspectors assigned to any project within the jurisdiction shall be identified by the design professional, and certified for the discipline assigned.

- Owner Responsibilities

- The owner or the design professional in responsible charge as the owner’s agent shall fund special inspection services. The owner is responsible for seeing that these requirements are met.

- Registered Design Professional Responsibilities

- The registered design professional in responsible charge (engineer or architect), shall include special inspection requirements and specifications on the plans.

- Provide structural observation per IBC 1704.6 requirements and specifications on the plans.

- Prepare the Statement of Special Inspections in accordance with IBC section 1704.2.3 and identify Structural Testing for seismic resistance per IBC section 1705.13 (when required). The statement of special inspections shall identify items fabricated on the premises of an approved fabricator where special inspections are not required by section 1704.2.5.

- Review the special inspection reports and provide corrective action for work that may not conform to the approved plans.

- Contractor’s Responsibilities

- Notify the agency. The contractor is responsible for notifying the inspection agency in sufficient time for scheduling personnel to perform required inspections.

- Written statement of responsibility.

- Provide access to city approved plans. The approved plans shall be readily accessible at the job site.

- Provide access to the work. The contractor shall provide reasonable access to all work requiring special inspection.

- Retain special inspection reports at the job site. The contractor is also responsible for retaining at the job site all special inspection records submitted by the special inspector, and providing these records for review by the Building Division’s inspector upon request.

- Provide a copy of special inspector’s credentials when requested by the jurisdiction.

- Duties of the Special Inspector

- Inspect the work. The inspector shall inspect the work for compliance with the jurisdiction approved plans, specifications, and applicable provisions of the IBC. The architect/engineer’s reviewed shop drawings, and/or placement drawings, may be used only as an aid to inspections.

  - Continuous Special Inspections – The full-time inspection of work requiring special inspection by an approved special inspector who is present in the area where the work is being performed.

  - Periodic Special Inspection – The part-time or intermittent inspection of work requiring special inspection by an approved special inspector who is present in the area where the work is being performed and at the completion of the work.

- Report non-conforming items. The inspector shall bring non-conforming items to the immediate attention of the contractor, the Building Division, and note all such items in the daily report. If any item is not resolved in a timely manner and is about to be incorporated in the work, the special inspector shall immediately notify the engineer or architect of record. Where an appropriate action is not taken by either the contractor, or the engineer, or the architect of record to correct the non-conforming item(s), the special inspector shall immediately notify the Building Division.

- Furnish daily reports. The special inspector shall complete a daily report for each day’s inspections. The daily reports shall remain at the job site with the contractor for the Building Division’s inspector. The reports shall include the following:

  - Name of special inspector

  - Description of the inspections, with the location and tests performed.

  - List any non-conforming items.

  - Include how items were resolved or unresolved

  - List any changes or corrections to non-conforming issues authorized by the engineer or architect.

- Furnish weekly reports. The inspection agency shall furnish weekly reports of the tests and inspections performed directly to the Building Division, project engineer, architect, and/or others as designated.

- Furnish final report. The inspection agency shall submit a final signed report to the Building Division stating that all items requiring special inspections and testing were fulfilled, all discrepancies were corrected or resolved, and all work requiring special inspections is in conformance with the approved design drawings and specifications. Any items unresolved or discrepancies in coverage (i.e., missed inspections, periodic inspections when continuous was required, etc.) shall be specifically itemized in this report.

- Jurisdiction

The jurisdiction will review the implementation of Structural Tests and Special Inspection requirements.

- Review special inspections. The Building Division shall review all inspectors and special inspection requirements found in IBC Chapter 17.

- Monitor special inspections. Work requiring special inspections, and the performance of special inspectors, may be monitored by the Building Division’s inspector.

- Issue Certificate of Occupancy. The Building Division will only issue a Certificate of Occupancy after all special inspection reports and the final special inspection report, have been submitted and accepted.

ACKNOWLEDMENTS

I have read and understand my responsibilities regarding special inspections

Registered Design Professional in Responsible Charge:

Signature:_______________________________________ Print Name: ______________________________

Agency Name: __________________________________________ Date:_____________________

Affix Seal (if applicable):